ARREST-TB - Spin Tube Application Software Requirements

1. Introduction

- Tuberculosis (TB) is a global public health threat, costing 1.3 million lives in 2016 with an additional 374,000 deaths among HIV-positive people . In Europe, there were 290,000 TB cases in 2016, with 26,000 deaths.

- In order to facilitate the faster detection, and easy diagnosis , our app is based on the results of the rapid triage test to allow no-wash detection of the bacteria .

- This method allows high sensitivity and the image processing app can be used to give an accurate diagnosis of these acid based results thus facilitating the treatment.

1.1 Purpose

- WHO have estimated that only half of all TB cases worldwide were diagnosed/reported, with, alarmingly, only 25% of rifampicin or multidrug-resistant TB cases identified and notified in 2016.

- This underdiagnosis/under-reporting is caused partly due to poor access to appropriate diagnosis, as most of the current ‘gold standard’ diagnostic tools are expensive and ill adapted to resource-limited settings. Hence an app based rapid testing for easier and less laborious solution for the diagnosis of the disease.

1.2 Intended Audience

- As evidenced by the rapid spread of New Delhi metallo-β-lactamase type 1 producing bacteria world-wide including Romania, Denmark, Spain, and Hungary22, the Europe-wide spread of drug-resistant TB from high burden countries is all too possible/likely.

- This makes the rapid diagnosis, treatment and public health containment of TB and in particular MDR TB a high-priority. Thus these countries fall under the main intended audience in order to help with rapid detection and diagnosis of the pathogen.

1.3 Intended Use

- The use of this app is to provide the pathogen specifications along with the initial diagnosis. The app will provide output about the MTBC +ve and the NTM -ve , along with the drug resistant strains which is a dominant pathogen in European countries.

1.4 Scope

- The tests will allow rapid detection of MDR-TB with the use of an ‘app’ on mobile-phones used to interpret results, logging of the details of the experiment and location (GPS), as well as transmitting the data and results to the cloud for collation and reporting.

- This reduces the transmission time and the hot spots of the disease can also be monitored.

- The ‘app’ will also help seamlessly to maintain a central database for collection and processing of this information, to track the incidence in ‘real-time’ and improve decision-making and direct resources.

1.5 Definitions and Acronyms

MTBC : Mycobacterium Tuberculosis .

NTM   : Nontuberculous mycobacteria.

NIRT  : National Institute of Research In Tuberculosis.

NC      : Negative Controls.

2. Overall Description

- Our project is a low cost, portable, sensitive detection method which replaces the physical work of sample preparation.

- This involves developing molecular methods for detection of mycobacterium tuberculosis and its multi drug resistant strains ,run these acid based reaction outputs into the app which will give a final diagnosis of the pathology in the sputum sample.

2.1 User Needs

- The User requirements include a low cost rapid testing of the bacteria apart from the golden standard. It is required to be comfortable and a POCT (point of care technology) app having very easy logins and fast analysis of results.

3. System Features and Requirements

3.1 Functional Requirements

| Requirement ID | Requirement | Type (Mandatory/Optional) |
| --- | --- | --- |
| FR.USER.1 | The application shall provide a mechanism to add new users who are authorised to use the application | Mandatory |
| FR.USER.2 | The application shall provide a administrator user with rights to add other users | Mandatory |
| FR.USER.3 | The application shall enable access to application to a valid user and password | Mandatory |

3.1.1 User Management

- The users must have an initial registration process into the app. This process must include the selection of the user ID or the user name and the password selection details.

- The personal information that is entered into the app  must be protection and breaches fire walled. The user must have easy password reset and reviving options.

3.1.1 Spin Tub Test Setup

| Date | Time | Patient ID | NIRT Lab No | Processed Sputum / Sputum Received / Not Received | PMC ID | Spin Tube ID / Validity |
| --- | --- | --- | --- | --- | --- | --- |
| 28-08-2020 | 10:30 am | Test1234 | NIRT286487 | Sputum/Received | PM87687546 | 21324, Valid |

- The app will prompt a retake if the image is blurred or out of focus.

- The app will show an outline of the image as a reference to capture the image as shown below.

Tracing these lines , the user can adjust the focus before clicking the picture.

3.1.2 Spin Tube Test Analysis

| Requirement ID | Requirement | Type (Mandatory/Optional) |
| --- | --- | --- |
| STA.USER.1 | Display of spintube image, the status of the result and the Patient ID details. | Mandatory |
| STA.USER.2 | Saving of the results in PDF format . In cases of unsatisfactory result quality , option of analysis rerun, recapturing the image . | Mandatory |

3.1.3 Spin Tube test results transfer

| Requirement ID | Requirement | Type (Mandatory/Optional) |
| --- | --- | --- |
| STRT.USER.1 | The transmission of results to the server , along with patient data. | Mandatory |
| SRTR.USER.2 | The data to the transmitted must include : i. Patient data ID and test results. ii. Test time,date and location . | Mandatory |

3.1.4 Spin Tube test results aggregation ( yet to be completed)

3.2 External Interface Requirements

| Requirement ID | Requirement | Type (Mandatory/Optional) |
| --- | --- | --- |
| EIR.USER.1 | The user is required to have the app installed on a phone having a minimum of 8 megapixel camera capacity. | Mandatory |
| EIR.USER.2 | The user is required not to use the flash option while clicking the picture of the spin tube before feeding . | Mandatory |
| EIR.USER.3 | The user is required to click the picture with the spin tube assay in focus and in a well lit room . | Mandatory |

3.3 System Features

3.4 Nonfunctional Requirements

| Requirement ID | Requirement | Type (Mandatory/Optional) |
| --- | --- | --- |
| NR.USER.1 | The application shall provide reliable and accurate results in comparison to the ground truth. | Mandatory |
| NR.USER.2 | The application will provide patient details and the results will be password protected. | Mandatory |
| NR.USER.3 | The application will provide easy and convenient usability to cater to field staff qualification. | Mandatory |